## 1. Source Reference
Institutional Wastewater Generation — Source Classification & Management Guide
6 Source Categories ¦ Grey / Black / RO / Lab Classification ¦ STP / ETP Routing ¦ NAAC 7.1.4
# | Source Category | Specific Sources | Wastewater Type | Treatment Route | Reuse Potential
1 | Academic Departments | Lab washbasins, hand-wash areas, floor cleaning, equipment rinse | Grey water (soaps, detergents, diluted chemicals) | Lab waste → neutralization → ETP; General → STP | Floor cleaning, gardening (after treatment)
2 | Canteen & Mess | Dishwashing, food preparation, floor cleaning, hand-wash | Grey water with high organic load (food particles, oils, detergents) | Grease trap → STP / ETP | Non-potable: flushing, cleaning (after treatment)
3 | Washrooms & Toilets | Toilets, urinals, washbasins | Black water (sewage, high bacterial load) | Direct to STP → disinfection | Flushing, gardening (after full treatment)
4 | Hostels & Residential | Bathrooms, laundry, toilets, handwash | Mix of grey + black water | Grey water separated → reuse; Black → STP | Laundry rinse reuse, gardening, flushing
5 | RO Plant Reject | Drinking water purification reject streams | High TDS water (salts, minerals) | Separate tank → dilute with grey water → ETP | Gardening, floor cleaning, cooling towers
6 | Gardening & Outdoor | Overflow, pavement washing, cleaning water | Grey water with soil, mud, organic matter | Recharge pits or filtered for reuse | Ground recharge, irrigation recycling
Proposed Treatment Strategy
# | System | Function | Input Sources | Output Quality | Reuse Applications
1 | STP (Sewage Treatment Plant) | Treats black water and general grey water to discharge/reuse standards | Toilets, urinals, canteen sewage, hostel sewage, general grey water | BOD <10 mg/L, TSS <10 mg/L, pH 6.5–8.5 | Gardening, flushing, landscape irrigation, construction
2 | ETP (Effluent Treatment Plant) | Treats high organic load, chemical-laden, and high-TDS wastewater | RO reject, lab wastewater (after neutralization), canteen grease-trap effluent | Meets CPCB discharge norms; suitable for controlled reuse | Floor cleaning, cooling towers, diluted gardening
3 | Sludge Composting | Converts STP/ETP sludge to organic fertilizer | Sludge from STP settling tanks and ETP filter press | Stabilized compost; pathogen-free after 60-day maturation | Campus garden fertilizer, nursery beds, landscaping

## 2. Sources Log
Wastewater Sources Log — Daily Generation by Location & Type
Enter every source: category, location, type, volume (L/day), routing → feeds Treatment & Dashboard
S.No. | Date / Period | Source Category | Location / Block | Wastewater Type (Grey / Black / RO / Lab) | Estimated Volume (L/day) | Collection Tank ID | Routed To (STP / ETP / Recharge Pit) | Measurement Method (Meter / Estimate / Formula) | Remarks
1 |  | Academic Dept | Science Lab Complex | Lab | 150 | CT-LAB-01 | ETP | Estimate | Neutralized before routing
2 |  | Academic Dept | Academic Block 1 Washbasins | Grey | 200 | CT-AB1 | STP | Estimate
3 |  | Academic Dept | Academic Block 2 Washbasins | Grey | 180 | CT-AB2 | STP | Estimate
4 |  | Academic Dept | Workshop / Engineering Lab | Grey | 100 | CT-WS1 | STP | Estimate | Coolant water included
5 |  | Canteen & Mess | Main Canteen Kitchen | Grey | 500 | CT-CAN-01 | STP | Meter | Via grease trap
6 |  | Canteen & Mess | Hostel Mess Kitchen | Grey | 400 | CT-MES-01 | STP | Meter | Via grease trap
7 |  | Washrooms & Toilets | Academic Block Washrooms | Black | 800 | CT-WR-01 | STP | Formula | Population × 15L
8 |  | Washrooms & Toilets | Admin Block Washrooms | Black | 200 | CT-WR-02 | STP | Formula
9 |  | Hostels | Hostel A (Boys) — Bathrooms | Grey | 600 | CT-HA-GR | STP | Estimate
10 |  | Hostels | Hostel A (Boys) — Toilets | Black | 400 | CT-HA-BK | STP | Formula
11 |  | Hostels | Hostel B (Boys) | Grey | 500 | CT-HB-GR | STP | Estimate
12 |  | Hostels | Hostel C (Girls) — All | Grey | 700 | CT-HC | STP | Estimate | Mixed grey+black
13 |  | Hostels | Hostel Laundry | Grey | 300 | CT-HL | STP | Estimate | Detergent-laden
14 |  | RO Plant | RO Plant Reject Water | RO | 800 | CT-RO-01 | ETP | Meter | 60–70% of RO input
15 |  | Gardening | Garden Overflow / Wash | Grey | 100 | Recharge Pit | Recharge Pit | Estimate | Seasonal variation
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
Source-Wise Generation Summary (Auto-Calculated)
|  | Source Category |  |  | Volume (L/day) |  | % of Total
Academic Dept |  |  |  |  | 630 |  | 10.6239
Canteen & Mess |  |  |  |  | 900 |  | 15.1771
Washrooms & Toilets |  |  |  |  | 1000 |  | 16.8634
Hostels |  |  |  |  | 2500 |  | 42.1585
RO Plant |  |  |  |  | 800 |  | 13.4907
Gardening |  |  |  |  | 100 |  | 1.6863
Wastewater Type Summary
Grey Water |  |  |  |  | 3580 |  | 60.371
Black Water |  |  |  |  | 1400 |  | 23.6088
RO Water |  |  |  |  | 800 |  | 13.4907
Lab Water |  |  |  |  | 150 |  | 2.5295
Routing Summary (Where Wastewater Goes)
Routed to STP |  |  |  |  | 4880 |  | 82.2934
Routed to ETP |  |  |  |  | 950 |  | 16.0202
Routed to Recharge Pit |  |  |  |  | 100 |  | 1.6863
TOTAL WASTEWATER GENERATED (L/day) |  |  |  |  | 5930
Total in KLD (Kilolitres/Day) |  |  |  |  | 5.93

## 3. Treatment Plan
Treatment Plant Register — STP & ETP Capacity, Inflow & Treated Output
Inflow auto-calculated from Sources Log ¦ Treated volume = min(capacity, inflow) ¦ Efficiency tracked
Plant ID | Plant Type (STP/ETP) | Rated Capacity (KLD) | Rated Capacity (L/day) [AUTO] | Inflow (L/day) [AUTO from Sources] | Treated Volume (L/day) [AUTO] | Treatment Efficiency (%) | Last Service Date | Next Service Due | Remarks
STP-1 | STP | 100 | 100000 | 4880 | 4880 |  |  |  | Main campus STP — activated sludge process
STP-2 | STP | 50 | 50000 | 4880 | 4880 |  |  |  | Hostel block STP — MBBR technology
ETP-1 | ETP | 50 | 50000 | 950 | 950 |  |  |  | For RO reject, lab waste, canteen grease-trap effluent
ETP-2 | ETP | 20 | 20000 | 950 | 950 |  |  |  | Backup / overflow ETP
|  |  | 0 | 0 | 0
|  |  | 0 | 0 | 0
|  |  | 0 | 0 | 0
|  |  | 0 | 0 | 0
Treatment Totals
TOTAL |  |  | 220000 | 11660 | 11660
Total Capacity (KLD) |  |  | 220
Total Inflow (KLD) |  |  | 11.66
Total Treated (KLD) |  |  | 11.66
Capacity Utilization (%) |  |  | 5.3
Overflow / Untreated (L/day) |  |  | 0

## 4. Reuse Plan
Treated Water Reuse Plan — Application & Distribution
Assign treated STP/ETP output to reuse applications ¦ Track reuse volume vs treated volume
S.No. | Reuse Application | Location / Block | Source Plant (STP-1/ETP-1/etc.) | Assigned Volume (L/day) | Distribution / Pipeline Ref | Quality Requirement | Remarks
1 | Gardening / Landscaping Irrigation | Campus gardens, lawns, nursery | STP-1 |  | Pipeline P-GDN-01 | pH 6.5–8.5, BOD <20
2 | Toilet Flushing | Hostel A & B flush tanks | STP-1 |  | Pipeline P-FLUSH-01 | pH 6.5–8.5, no odour | Dual plumbing required
3 | Toilet Flushing | Academic Block washrooms | STP-2 |  | Pipeline P-FLUSH-02
4 | Floor Cleaning / Mopping | All buildings general cleaning | STP-1 |  | Tanker / manual | Non-potable standard
5 | Cooling Tower Makeup | Central AC plant | ETP-1 |  | Pipeline P-COOL-01 | Low TDS preferred | If applicable
6 | Construction Use | New building projects on campus | STP-1 |  | Tanker | Non-potable | Seasonal
7 | Vehicle Washing | Transport / parking area | ETP-1 |  | Manual | Non-potable
8 | Sports Ground / Playground | Cricket pitch, football ground | STP-1 |  | Sprinkler S-SPT-01
9
10
11
12
13
14
15
16
17
18
19
20
Reuse Summary
TOTAL REUSE ASSIGNED (L/day) |  |  |  | 0
Total Reuse (KLD) |  |  |  | 0
Treated Volume Available (L/day) |  |  |  | 11660
Reuse as % of Treated |  |  |  | 0
Surplus Treated (Unassigned) |  |  |  | 11660

## 5. Dashboard Summary
Wastewater Audit Dashboard — Auto-Calculated KPIs
All values auto-linked from Sources Log, Treatment Plan & Reuse Plan
S.No. | KPI / Metric | Value | Unit | Formula Source | Target | Status
1 | Total Wastewater Generated | 5930 | L/day | Sources Log Grand Total
2 | Generated (KLD) | 5.93 | KLD
3 | Grey Water Generated | 3580 | L/day | Type = Grey
4 | Black Water Generated | 1400 | L/day | Type = Black
5 | RO Reject Generated | 800 | L/day | Type = RO
6 | Lab Wastewater Generated | 150 | L/day | Type = Lab
7 | Sent to STP (L/day) | 4880 | L/day | Route = STP
8 | Sent to ETP (L/day) | 950 | L/day | Route = ETP
9 | Total Treatment Capacity (L/day) | 220000 | L/day | Treatment Plan
10 | Total Treated Volume (L/day) | 11660 | L/day | Treatment Plan
11 | Capacity Utilization (%) | 5.3 | % | Treated/Capacity
12 | Total Reuse Assigned (L/day) | 0 | L/day | Reuse Plan
13 | REUSE % OF GENERATED | 0 | % | Reuse/Generated — KEY KPI
14 | REUSE % OF TREATED | 0 | % | Reuse/Treated
15 | Untreated / Overflow (L/day) | 0 | L/day | Generated−Treated
16 | Unassigned Treated (L/day) | 11660 | L/day | Treated−Reused

## 6. YoY Trend
Wastewater Management — 5-Year Trend
Track generation, treatment, and reuse progress for NAAC / Green Audit
S.No. | Parameter | Unit | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | 5-Year Change | Growth (%) | Trend
1 | Total Generated (KLD) | [6 empty] | 0 | 0 | Stable
2 | Total Treated (KLD) | [6 empty] | 0 | 0 | Stable
3 | Total Reused (KLD) | [6 empty] | 0 | 0 | Stable
4 | Reuse % of Generated | [6 empty] | 0 | 0 | Stable
5 | STP Capacity (KLD) | [6 empty] | 0 | 0 | Stable
6 | ETP Capacity (KLD) | [6 empty] | 0 | 0 | Stable
7 | Capacity Utilization (%) | [6 empty] | 0 | 0 | Stable
8 | Sludge Composted (Tonnes/yr) | [6 empty] | 0 | 0 | Stable

## 7. Audit Checklist
Wastewater Audit — Compliance Checklist (NAAC 7.1.4 / CPCB / Green Audit)
Evidence readiness for accreditation, pollution control board, sustainability reporting
# | Audit Item | Requirement / Description | Status (✓/✗/IP) | Date | Reviewer
1 | All wastewater sources identified | Every source (academic, canteen, washrooms, hostels, RO, gardening) logged
2 | Volumes estimated or metered | L/day per source documented; meter-based preferred, formula-based acceptable
3 | Wastewater type classified | Grey / Black / RO / Lab classification assigned per source
4 | Routing documented | Every source routed to STP, ETP, or recharge pit; documented
5 | Source-wise summary auto-calculated | Category totals (academic, canteen, etc.) and type totals auto-computed
6 | STP capacity documented | Rated capacity (KLD), technology type, commissioning date documented
7 | ETP capacity documented | Rated capacity, input sources, treatment process documented
8 | Inflow auto-linked from sources | Treatment plant inflow = sum of sources routed to it; auto-calculated
9 | Treated volume computed | Treated = min(capacity, inflow); documented per plant
10 | Capacity utilization tracked | % utilization = inflow/capacity; overcapacity flagged
11 | Reuse plan documented | Every treated water application: gardening, flushing, cleaning, cooling assigned
12 | Reuse % of generated computed | KEY KPI: total reuse ÷ total generated × 100; auto-calculated
13 | CPCB discharge norms met | Treated effluent quality meets CPCB standards (BOD, TSS, pH, coliform)
14 | Water quality test reports available | Regular testing of STP/ETP output; lab reports archived
15 | Grease traps installed (canteen) | Grease interceptors at canteen/mess drains; maintenance log maintained
16 | Lab waste neutralization | Chemical lab waste neutralized (pH adjustment) before routing to ETP
17 | RO reject reuse documented | Reject water quantity and reuse method documented
18 | Sludge management documented | Sludge disposal: composting, authorized disposal, or biogas plant
19 | 5-year trend documented | Generation, treatment, reuse tracked over 5 years
20 | NAAC 7.1.4 / Green Audit ready | Complete documentation package for water management criterion