## 1. WCM Reference Guide
Water Conservation Measures (WCM) — Reference Guide & Specifications
11 Core Measures ¦ Description, Expected Savings, Implementation Notes ¦ NAAC 7.1.4 Aligned
WCM # | Conservation Measure | Description & How It Works | Expected Saving | Applicable Locations
1 | Water Metering | Installation of water flow meters in different blocks and facilities to measure actual consumption. Helps identify high-consumption areas and enables accurate audits to detect leakages. Install at main supply, each block, hostels, kitchen, and garden independently. | Enables 10–15% reduction via awareness | All blocks, hostels, kitchen, garden, STP
2 | Use of Aerators (Hostel / School / College) | Aerators mix air with water, reducing flow rate without affecting performance. Screw-on devices fitted at tap outlets. Standard flow 12 L/min reduced to 6–8 L/min. Zero maintenance, ₹50–200 per unit. | 40–50% water saving per tap | All washbasins, hostel bathrooms, labs, staff rooms
3 | Thermostats at Boilers | Controls water heating efficiently, preventing overheating and unnecessary water loss during cooling cycles. Maintains optimal temperature (60–65°C) automatically. Prevents repeated heating-cooling-draining cycles. | Saves water + 15–20% energy | Hostel boilers, kitchen, laundry
4 | Low Flow Fixtures in Kitchen | Low-flow taps, faucets, and pre-rinse sinks reduce water usage during cooking, food preparation, and cleaning. Flow rate limited to 4–6 L/min vs standard 10–15 L/min. | 30–40% kitchen water reduction | Main kitchen, canteen, staff kitchen, hostel mess
5 | Pre-Rinse Spray Valves | High-efficiency spray valves used in cafeterias and canteens for pre-rinsing dishes before machine wash. Rated at 4–6 L/min vs old valves at 12+ L/min. Quick payback period (2–3 months). | Saves 150+ L/day per kitchen | Canteen dishwash area, hostel mess, catering
6 | Use of Dishwasher | Modern commercial dishwashers consume less water than manual washing. Uses 10–12 L per cycle vs 30–40 L manual. Also ensures hygiene standards. Energy-efficient models with heat recovery. | 60–70% less vs manual wash | Main kitchen, canteen, hostel mess
7 | Grease & Oil Interceptor in Kitchen | Separates grease, fats, and oil from kitchen wastewater before it enters drainage/STP. Prevents blockages in plumbing, protects STP efficiency, and facilitates water reuse. Regular cleaning every 2 weeks required. | Prevents blockage; enables STP reuse | Kitchen drain, canteen outlet, hostel mess
8 | Regulator in Washing Machine | Flow regulators and load sensors on washing machines adjust water intake based on load size and wash type. Prevents overfilling. Modern machines with water-level sensors consume 40–50 L vs 80+ L in older models. | 20–25% laundry water saving | Hostel laundry, staff quarters, housekeeping
9 | Irrigation System (Drip / Sprinkler) | Automated drip or sprinkler irrigation replaces manual hose watering. Drip delivers water directly to roots; sprinklers cover lawns. Timer-based scheduling (early morning / evening). Moisture sensors prevent over-watering. | 60–70% garden water saving | Campus gardens, lawns, nursery, sports ground
10 | Installation of RO Plant (with Reject Reuse) | Produces safe drinking water for students and staff. Reject water (60–70% of input) MUST be reused — for gardening, flushing, cleaning, or cooling towers. Without reject reuse, RO actually wastes water. | Reject reuse saves 500–1000 L/day | Drinking water stations; reject to garden/flush
11 | Leakage Prevention in Building Taps | Regular inspection and maintenance of all taps, pipelines, valves, and tanks. A single dripping tap wastes 15–20 L/day. Monthly inspection rounds, immediate repair protocol, leak detection dye tests for underground pipes. | Saves 100–500 L/day campus-wide | All buildings, underground pipes, tank overflows

## 2. WCM Tracker
Water Conservation Measures — Implementation Tracker & Savings Calculator
Auto-Calculated Savings ¦ Enter Baseline & Post-Implementation → Daily & Monthly Savings Auto-Compute
S.No. | WCM # | Conservation Measure | Description | Location / Block | Owner / Department | Status (Planned / Ongoing / Completed) | Install / Start Date | Baseline Use (L/day) | Post-Implementation Use (L/day) | Saving (L/day) [AUTO] | Saving (L/month) [AUTO] | Saving (KL/year) [AUTO] | Evidence Link (Photo/Bill/PO) | Remarks
1 | 1 | Water Metering | Flow meters at blocks to measure consumption & detect leakages | [6 empty] | 0 | 0 | 0
2 | 2 | Aerators (Hostel/School/College) | Air-mixing devices at taps; 40–50% flow reduction | [6 empty] | 0 | 0 | 0
3 | 3 | Thermostats at Boilers | Efficient temperature control; prevents water/energy waste | [6 empty] | 0 | 0 | 0
4 | 4 | Low Flow Fixtures in Kitchen | Low-flow taps & faucets; 30–40% kitchen water reduction | [6 empty] | 0 | 0 | 0
5 | 5 | Pre-Rinse Spray Valves | High-efficiency dish pre-rinse; saves 150+ L/day | [6 empty] | 0 | 0 | 0
6 | 6 | Dishwasher | 10–12 L/cycle vs 30–40 L manual; 60–70% saving | [6 empty] | 0 | 0 | 0
7 | 7 | Grease & Oil Interceptor | Separates grease; protects STP; enables water reuse | [6 empty] | 0 | 0 | 0
8 | 8 | Regulator in Washing Machine | Load-based water regulation; 20–25% laundry saving | [6 empty] | 0 | 0 | 0
9 | 9 | Irrigation System (Drip/Sprinkler) | Automated irrigation; 60–70% garden water saving | [6 empty] | 0 | 0 | 0
10 | 10 | RO Plant (with Reject Reuse) | Safe drinking water; reject reused for garden/flush | [6 empty] | 0 | 0 | 0
11 | 11 | Leakage Prevention | Regular inspection & repair; saves 100–500 L/day | [6 empty] | 0 | 0 | 0
12 | 12 | [Add Custom WCM] | [7 empty] | 0 | 0 | 0
13 | 13 | [Add Custom WCM] | [7 empty] | 0 | 0 | 0
14 | 14 | [Add Custom WCM] | [7 empty] | 0 | 0 | 0
15 | 15 | [Add Custom WCM] | [7 empty] | 0 | 0 | 0
16 | 16 | [Add Custom WCM] | [7 empty] | 0 | 0 | 0
17 | 17 | [Add Custom WCM] | [7 empty] | 0 | 0 | 0
18 | 18 | [Add Custom WCM] | [7 empty] | 0 | 0 | 0
19 | 19 | [Add Custom WCM] | [7 empty] | 0 | 0 | 0
20 | 20 | [Add Custom WCM] | [7 empty] | 0 | 0 | 0
GRAND TOTALS — All Water Conservation Measures
TOTALS | [7 empty] | 0 | 0 | 0 | 0 | 0

## 3. Dashboard Summary
WCM Dashboard — Auto-Calculated Implementation Summary
Real-time status counts, savings totals, and % progress from tracker data
S.No. | Metric | Value | Unit | Formula | Target | Status
1 | Total Measures Listed | 11 | Nos. | Count of non-blank WCMs
2 | Completed Measures | 0 | Nos. | Status = Completed
3 | Ongoing Measures | 0 | Nos. | Status = Ongoing
4 | Planned Measures | 0 | Nos. | Status = Planned
5 | Not Started / Blank | 11 | Nos. | Remaining
6 | Implementation Rate (%) | 0 | Percent | (Completed+Ongoing)/Total
7 | Completion Rate (%) | 0 | Percent | Completed/Total
8 | Total Baseline Consumption (L/day) | 0 | L/day | Sum of all baselines
9 | Total Post-Implementation (L/day) | 0 | L/day | Sum of post-implementation
10 | TOTAL DAILY SAVING (L/day) | 0 | L/day | Baseline − Post
11 | TOTAL MONTHLY SAVING (L/month) | 0 | L/month | Daily × 30
12 | TOTAL ANNUAL SAVING (KL/year) | 0 | KL/year | Daily × 365 / 1000
13 | % Water Saved (of Baseline) | 0 | Percent | Saving / Baseline × 100
14 | Estimated Annual Cost Saving (₹) | 0 | ₹/year | @ ₹5 per KL (municipal rate)
Savings by Implementation Status
S.No. | Status | Count | Daily Saving (L) | Monthly Saving (L) | Annual Saving (KL) | % of Total Saving
1 | Completed | 0 | 0 | 0 | 0 | 0
2 | Ongoing | 0 | 0 | 0 | 0 | 0
3 | Planned | 0 | 0 | 0 | 0 | 0

## 4. Block-Wise Savings
Water Savings by Location / Block — Where Is Most Water Being Saved?
Aggregate savings per building/zone ¦ Identifies highest-impact locations
S.No. | Location / Block | WCMs Implemented | Baseline (L/day) | Post-Impl (L/day) | Saving (L/day) | Saving (L/month) | Saving (KL/year) | % of Total Saving
1 | Academic Block 1 |  |  |  | 0 | 0 | 0 | 0
2 | Academic Block 2 |  |  |  | 0 | 0 | 0 | 0
3 | Academic Block 3 |  |  |  | 0 | 0 | 0 | 0
4 | Science Lab Complex |  |  |  | 0 | 0 | 0 | 0
5 | Hostel Block A (Boys) |  |  |  | 0 | 0 | 0 | 0
6 | Hostel Block B (Boys) |  |  |  | 0 | 0 | 0 | 0
7 | Hostel Block C (Girls) |  |  |  | 0 | 0 | 0 | 0
8 | Hostel Block D (Girls) |  |  |  | 0 | 0 | 0 | 0
9 | Main Kitchen / Canteen |  |  |  | 0 | 0 | 0 | 0
10 | Staff Kitchen |  |  |  | 0 | 0 | 0 | 0
11 | Hostel Mess |  |  |  | 0 | 0 | 0 | 0
12 | Administrative Block |  |  |  | 0 | 0 | 0 | 0
13 | Sports Complex |  |  |  | 0 | 0 | 0 | 0
14 | Garden / Landscaping |  |  |  | 0 | 0 | 0 | 0
15 | Staff Quarters |  |  |  | 0 | 0 | 0 | 0
16 | Laundry |  |  |  | 0 | 0 | 0 | 0
17 | RO Plant Area |  |  |  | 0 | 0 | 0 | 0
18 | Central Water Supply |  |  |  | 0 | 0 | 0 | 0
19 | Other |  |  |  | 0 | 0 | 0 | 0
CAMPUS TOTAL |  |  | 0 | 0 | 0 | 0 | 0

## 5. YoY Trend
Water Conservation — 5-Year Implementation & Savings Trend
Track cumulative conservation progress for NAAC / Green Audit
S.No. | Parameter | Unit | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 (Current) | 5-Year Change | Trend
1 | WCMs Implemented (count) | [6 empty] | 0 | Stable
2 | Total Daily Saving (L/day) | [6 empty] | 0 | Stable
3 | Total Monthly Saving (L/month) | [6 empty] | 0 | Stable
4 | Total Annual Saving (KL/year) | [6 empty] | 0 | Stable
5 | % Water Saved (of baseline) | [6 empty] | 0 | Stable
6 | Campus Water Consumption (KL/yr) | [6 empty] | 0 | Stable
7 | Per Capita Consumption (L/day) | [6 empty] | 0 | Stable
8 | Rainwater Harvested (KL/yr) | [6 empty] | 0 | Stable
9 | Water Recycled via STP (KL/yr) | [6 empty] | 0 | Stable
10 | Annual Water Cost (₹) | [6 empty] | 0 | Stable

## 6. Audit Checklist
Water Conservation — Audit & Compliance Checklist (NAAC 7.1.4 / Green Audit)
Evidence readiness for accreditation and sustainability reporting
# | Audit Item | Requirement / Description | Status (✓/✗/IP) | Date | Reviewer
1 | All 11 core WCMs assessed | Each WCM documented with status (Planned/Ongoing/Completed)
2 | Baseline consumption recorded | Pre-implementation water usage (L/day) recorded for each WCM location
3 | Post-implementation recorded | Actual usage after WCM implementation entered for savings calculation
4 | Savings auto-calculated correctly | Daily = Baseline − Post; Monthly = Daily × 30; Annual = Daily × 365 / 1000
5 | Location / block assigned | Every WCM linked to a specific campus location
6 | Owner / department assigned | Responsible department/person identified for each WCM
7 | Evidence documented | Photos, purchase orders, bills, installation certificates linked per WCM
8 | Water meters installed and reading | Meter readings available for high-consumption areas
9 | Aerators installed (count documented) | Number of aerators installed with locations; savings verified
10 | Kitchen measures implemented | Low-flow fixtures, spray valves, dishwasher, interceptor status documented
11 | Irrigation system documented | Drip/sprinkler type, coverage area, timer settings, savings documented
12 | RO reject reuse documented | Reject water quantity and reuse method (garden/flush/cleaning) documented
13 | Leakage prevention log | Inspection dates, leaks found, repairs done, water saved documented
14 | Block-wise savings computed | Savings aggregated per building/block for zone analysis
15 | Dashboard summary accurate | Total counts, savings, % progress match tracker data
16 | 5-year trend documented | Conservation progress tracked over 5 years for NAAC/Green Audit
17 | NAAC 7.1.4 evidence ready | Complete documentation package for water conservation facilities
18 | Green Audit alignment | Data consistent with institutional Green Audit / Environment Audit
19 | Cost saving computed | Annual water cost saving estimated and documented
20 | Reproducibility verified | All savings reproducible from baseline vs post-implementation data