## 1. Water Storage Profile
Campus Water Storage Profile — Tank Inventory & Capacity Register
Auto-Calculated ¦ NAAC 7.1.4 ¦ Water Audit Baseline ¦ GOI 45 L/day/person Standard
S.No. | Location / Building | Zone (Academic / Hostel / Support / Green) | No. of Tanks | Capacity per Tank (Litres) | Total Capacity (Litres) | Tank Type (Overhead / Underground / Both) | Material (RCC / PVC / SS / FRP) | Condition (Good / Fair / Poor)
1 | Academic Block 1 | Academic | 2 | 10000 | 20000 | Overhead | RCC
2 | Academic Block 2 | Academic | 1 | 15000 | 15000 | Overhead | PVC
3 | Academic Block 3 | Academic | 2 | 10000 | 20000 | Underground | RCC
4 | Science Laboratory Complex | Academic | 1 | 20000 | 20000 | Underground | RCC
5 | Library Building | Academic | 1 | 5000 | 5000 | Overhead | PVC
6 | Hostel Block A (Boys) | Hostel | 3 | 8000 | 24000 | Both | RCC
7 | Hostel Block B (Boys) | Hostel | 2 | 12000 | 24000 | Both | RCC
8 | Hostel Block C (Girls) | Hostel | 3 | 10000 | 30000 | Both | RCC
9 | Hostel Block D (Girls) | Hostel | 2 | 8000 | 16000 | Overhead | PVC
10 | Staff Quarters | Hostel | 2 | 5000 | 10000 | Overhead | PVC
11 | Canteen / Kitchen | Support | 1 | 5000 | 5000 | Overhead | SS
12 | Administrative Block | Support | 1 | 8000 | 8000 | Overhead | PVC
13 | Sports Complex / Gymnasium | Support | 1 | 5000 | 5000 | Underground | RCC
14 | Workshop / Engineering Block | Academic | 1 | 10000 | 10000 | Underground | RCC
15 | Garden / Irrigation / Landscaping | Green | 1 | 20000 | 20000 | Underground | RCC
16 | Rainwater Harvesting Storage | Green | 2 | 25000 | 50000 | Underground | RCC
17 | Fire Safety Reserve Tank | Support | 1 | 50000 | 50000 | Underground | RCC
18 | Swimming Pool (if applicable) | Support |  |  | 0
19 | Central Water Treatment Plant | Support | 1 | 30000 | 30000 | Underground | RCC
0
0
0
0
0
0
0
0
0
0
0
GRAND TOTAL — Campus Water Storage
TOTAL TANKS |  |  | 28 | TOTAL CAPACITY (Litres) | 362000
TOTAL CAPACITY (Kilolitres / m³) |  |  |  |  | 362
Zone-Wise Storage Summary
| Zone |  | Tanks |  | Capacity (Litres) | Capacity (KL) | % of Total
Academic |  |  | 8 |  | 90000 | 90 | 24.8619
Hostel |  |  | 12 |  | 104000 | 104 | 28.7293
Support Services |  |  | 5 |  | 98000 | 98 | 27.0718
Green / Irrigation |  |  | 3 |  | 70000 | 70 | 19.337

## 2. Per Capita Adequacy
Water Storage Adequacy — Per Capita Analysis (GOI Standard: 45 L/day/person)
Is your campus storage sufficient for daily needs? ¦ Gap analysis ¦ Planning tool
S.No. | Parameter | Value | Unit | Formula / Source | Status | Remarks | Year
1 | Total Students (Enrolled) |  | Nos. | Enter from registrar
2 | Total Faculty & Staff |  | Nos. | Enter from HR
3 | Hostel Residents (Students + Staff) |  | Nos. | Enter from hostel records
4 | Day Scholars (Non-Resident) | 0 | Nos. | =C4-C6 (if applicable)
5 | Total Campus Population (Daily) | 0 | Nos. | =C4+C5
6 | GOI Standard: Per Capita Water Requirement | 45 | L/day/person | GOI / IS 1172
7 | TOTAL DAILY WATER REQUIREMENT (Litres) | 0 | Litres | =C8*C9
8 | Total Water Storage Capacity (Litres) | 362000 | Litres | From Sheet 1
9 | Storage as Days of Supply | 0 | Days | =C11/C10
10 | MINIMUM RECOMMENDED STORAGE (2 days) | 0 | Litres | =C10*2
11 | STORAGE GAP / SURPLUS (Litres) | 362000 | Litres | =C11-C13
12 | ADEQUACY STATUS | ADEQUATE — Storage meets 2-day requirement |  | IF(Gap≥0, Adequate, Deficit)
Hostel-Specific Storage Adequacy
S.No. | Hostel Block | Residents | Storage (Litres) | Daily Requirement (L) | Days of Supply | Gap / Surplus | Status
1 |  |  |  | 0 | 0 | 0 | Adequate
2 |  |  |  | 0 | 0 | 0 | Adequate
3 |  |  |  | 0 | 0 | 0 | Adequate
4 |  |  |  | 0 | 0 | 0 | Adequate
5 |  |  |  | 0 | 0 | 0 | Adequate
6 |  |  |  | 0 | 0 | 0 | Adequate
7 |  |  |  | 0 | 0 | 0 | Adequate
8 |  |  |  | 0 | 0 | 0 | Adequate
9 |  |  |  | 0 | 0 | 0 | Adequate
10 |  |  |  | 0 | 0 | 0 | Adequate

## 3. Maintenance Register
Tank Condition Assessment & Maintenance Schedule
Inspection log ¦ Cleaning schedule ¦ Maintenance compliance ¦ Water quality link
S.No. | Location / Tank ID | Capacity (Litres) | Condition (Good/Fair/Poor) | Last Cleaning Date | Cleaning Frequency (Monthly/Quarterly/Biannual) | Next Cleaning Due | Last Water Quality Test Date | Test Result (Pass/Fail) | Maintenance Remarks
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Maintenance Summary
Total Tanks Tracked |  |  |  |  | 0
Tanks in Good Condition |  |  |  |  | 0
Tanks in Fair Condition |  |  |  |  | 0
Tanks in Poor Condition |  |  |  |  | 0
Tanks with Passed Water Test |  |  |  |  | 0
Tanks with Failed Water Test |  |  |  |  | 0
Formulas:
Next Cleaning Due = IF(AND([Last Cleaning Date]<>"",F4<>""),IF(F4="Monthly",EDATE([Last Cleaning Date],1),IF(F4="Quarterly",EDATE([Last Cleaning Date],3),IF(F4="Biannual",EDATE([Last Cleaning Date],6),""))),"")

## 4. Conservation Measures
Water Conservation Facilities & Measures — NAAC 7.1.4 Evidence
Rainwater harvesting, recycling, conservation ¦ Supports NAAC Criterion VII
# | Conservation Measure | Description / Details | Implemented (Y/N) | Capacity / Scale | Annual Water Saved (KL est.) | Evidence Document
1 | Rainwater Harvesting System | Rooftop collection → storage tanks / recharge pits
2 | Greywater Recycling / STP | Sewage Treatment Plant for recycling wastewater for gardening / toilets
3 | Drip Irrigation System | Micro-irrigation for gardens and landscaping; reduces water waste
4 | Water-Efficient Fixtures | Low-flow taps, dual-flush toilets, sensor-based faucets installed
5 | Bore Well with Recharge | Bore wells with recharge pits for groundwater replenishment
6 | Water Meters Installed | Metered water supply at key points for monitoring and leak detection
7 | Leak Detection & Repair Programme | Regular inspection of pipes, tanks, and fixtures for leaks
8 | Water Audit Conducted | Periodic water audit to assess consumption, losses, and savings
9 | Awareness Campaigns | Signage, workshops, NSS drives on water conservation
10 | Green Landscaping / Xeriscaping | Drought-resistant plants, mulching, reduced lawn area
11 | Condensate / AC Water Recovery | Recovery of condensate water from AC units for reuse
12 | Zero Liquid Discharge (ZLD) | Complete treatment and reuse of all wastewater on campus
Conservation Summary
Measures Implemented (Y) |  |  | 0
Measures Not Yet Implemented |  |  | 0
Implementation Rate (%) |  |  | 0
Total Estimated Annual Water Saved (KL) |  |  | 0

## 5. YoY Trend
Water Storage & Conservation — 5-Year Trend
Track capacity growth and per capita improvement over time
S.No. | Parameter | Unit | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 (Current) | 5-Year Change | Growth (%) | Trend
1 | Total Storage Capacity (KL) | [6 empty] | 0 | 0 | Stable
2 | Total Tanks (Nos.) | [6 empty] | 0 | 0 | Stable
3 | Campus Population | [6 empty] | 0 | 0 | Stable
4 | Per Capita Storage (L/person) | [6 empty] | 0 | 0 | Stable
5 | Days of Supply | [6 empty] | 0 | 0 | Stable
6 | Rainwater Harvested (KL/yr) | [6 empty] | 0 | 0 | Stable
7 | Water Recycled via STP (KL/yr) | [6 empty] | 0 | 0 | Stable
8 | Conservation Measures Implemented (of 12) | [6 empty] | 0 | 0 | Stable

## 6. Audit Checklist
Water Storage & Conservation — Audit Checklist (NAAC 7.1.4)
Validation for NAAC Criterion VII ¦ Water Audit ¦ Green Audit compliance
# | Audit Item | Description / Requirement | Status (✓/✗/IP) | Date | Reviewer
1 | Tank inventory complete | All tanks on campus documented with location, capacity, type, material, condition
2 | Total capacity calculated | Grand total auto-calculated; verified against physical inspection
3 | Zone-wise summary | Academic, Hostel, Support, Green zone totals computed and verified
4 | Per capita adequacy computed | Daily requirement (45 L/person × population) compared against storage
5 | Minimum 2-day storage met | Storage capacity ≥ 2 days' requirement (GOI/CPHEEO recommendation)
6 | Hostel-specific adequacy | Each hostel block storage verified against resident count
7 | Tank condition assessed | Every tank inspected: Good/Fair/Poor documented; poor tanks flagged
8 | Cleaning schedule maintained | Cleaning frequency defined; next-due dates auto-calculated; compliance tracked
9 | Water quality testing done | All tanks tested for potability (BIS standards); Pass/Fail recorded
10 | Rainwater harvesting installed | RWH system documented: capacity, collection area, storage, recharge
11 | STP / greywater recycling | STP operational; treated water reuse documented with capacity and utilization
12 | Water meters installed | Metered supply at key locations; consumption data recorded monthly
13 | Leak detection programme | Regular inspection schedule; repair log maintained
14 | Water audit conducted | Formal water audit within last 2 years; report available
15 | Conservation awareness | Signage, workshops, NSS drives on water conservation documented
16 | Water-efficient fixtures | Low-flow taps, dual-flush toilets, sensor faucets — coverage documented
17 | 5-year trend documented | Storage capacity and conservation measures tracked over 5 years
18 | NAAC 7.1.4 evidence ready | Complete documentation package ready for NAAC accreditation
19 | Green audit alignment | Water data aligned with institutional Green Audit report
20 | Reproducibility verified | All calculations reproducible from source data within ±5%